## Slide 1: Performance Specifications (PS)
PS | Pollutants Covered | QA Procedure
PS-1 | Opacity – Continuous Opacity Monitoring Systems (COMS) | Procedure 3
PS-2 | Sulfur Dioxide (SO2 ) and Oxides of Nitrogen (NOX) | Procedure 1
PS-3 | Oxygen (O2) and Carbon Dioxide (CO2) | Procedure 1
PS-4, 4A and 4B | Carbon Monoxide (CO) for PS-4 and 4A; and CO and O2 for PS-4B | Procedure 1
PS-5 | Total Reduced Sulfur (TRS) | 
PS-6 | Flow Rate – Continuous Emission Rate Monitoring Systems (CERMS) | 
PS-7 | Hydrogen Sulfide (H2S) | 
PS-8 | Volatile Organic Carbon (VOC) | 
PS-8A | Total Hydrocarbons (THC) | 
PS-9 | Gas Chromatography (GC) | 
PS-11 | Particulate Matter (PM) | Procedure 2
PS-12A and 12B | Mercury (Hg) | Procedure 5
PS-15 | Fourier Transform Infrared (FTIR) | 
PS-16 | PEMS | 
PS-18 | Hydrogen Chloride (HCl) | Procedure 6